Øekad@2019@NAAC-SSR/05                                           fnukad% 13.03.2019

We hereby certify that we have one Solar Photovoltaic Power Plant of capacity 5kW. Also additional power plant of 1000kW (500kW x 2) are going to be installed soon in the campus.

Details of total power generated from existing power plant and power consumption for the session 2017-18 are as below:

Total Energy Consumption in 2017-18 (kWH) –

| S No | Sub Stations/Locations | Total Power Consumption in 2017-18 (kWH) |
| --- | --- | --- |
|  | Academic Departments (Takshshila Campus) | 1022519 |
|  | Administrative Offices (Nalanda Campus) | 201880 |
|  | IET & Pharmacy Campus | 646693 |
|  | Hostels (All Boys and Girls Hostels, except IET Hostels) | 282560 |
|  | DAVV Auditorium | 80705 |
|  | Total | 2234357 |

Power requirement met by renewable energy sources:

| S No | Solar Power Plant Capacity | Total Power Generation in 2017-18 (kWH) |
| --- | --- | --- |
|  | 5kW | 7200kWH |

dqylfpo